Shower Stool With Plastic Seat

SKU: KA222ZA

$120

Features and Benefits:

- Designed for users preferring additional seating support while showering .

- White powder coated 22mm steel tube .

- Adjustable height and angle to suit individual users and uneven floors .

- Padded seat clips on for easy assembly, change and cleaning .

- Anti-slip rubber tips on each leg for stability .

- Independently tested to AS/NZS 3973:2009 .

- Suitable for institutional and domestic use .

- Available in 45cm and 50cm seat widths .

Specifications:

| Code | KA222ZA | Max User Weight | 110kg |
| --- | --- | --- | --- |
| Overall Width | 510mm | Overall Depth | 380mm |
| Seat Width | 340mm | Seat Depth | 290mm |
| Min Seat Height | 510mm | Max. Seat Height | 630mm |